# PDF Extraction Output

Source File: CRS.pdf

Total Pages: 2

--------------------------------------------------

## Page 1

### Page Text

EPC FOR UPGRADATION OF FACILITIES AT SE FIELD 
 
COMMENTS RESOLUTION SHEET (CRS) 
Contract No. 
4700022908 
Project No. 
P30377 
Comment Code -2 
Document No. 
Transmittal No. 
Document Title 
 
1 
Approved – No Comments 
 
2 
Approved Subject to Incorporation of Comments 
P29171-29-01-08-
1601 
C 
ATC-4700022908-
00770 
PIPING AND INSTRUMENT DIAGRAM 
DISPOSAL WATER: P-2415, 2416 & 2417 
CDS: SHAH (CONSTRUCTION) 
 
3 
Revise and Resubmit 
 
4 
Rejected 
 
5 
Retained for Information 
 
 
 
 
RSME-P161-PRO-1601-F-010 REV 3 
 
 
 
 
 
 
 
 
 
 
Page 1 of 1 
 
S. 
No. 
Reference / Page 
No. 
COMPANY Comments 
   CONTRACTOR Response 
Status / 
Remarks 
 
 
 
PROCESS DISCIPLINE 
 
 
1.  
P29171-29-01-08-
1601 
Add the note on the P&ID for reference. 
Note-12 has been incorporated as per 
existing site conditions. 
 
2.  
P29171-29-01-08-
1601 
Blind flange size to be confirmed. 
Blind Size has been confirmed for all the 
flanges in Note-13 and Note-14 
respectively.  
 
 
 
DESIGN REVIEW 
 
 
3.  
P29171-29-01-08-
1601 
Spec Breaks at flanges to indicate the blind flange material 
considering clarity for future use. 
Note 15 and Note 16 are incorporated 
accordingly to confirm the Blind Flange 
material. 
 
 
ORIGINATOR 
REVIEWED BY 
APPROVED BY 
Name 
Shehzad Ajmal 
Muhammad Uzair Yaseen 
Anantha Kumar Rajamani 
Sign 
 
 
 
Date 
4-Oct-2024 
4-Oct-2024 
4-Oct-2024

### Annotations

No annotations found.

--------------------------------------------------

## Page 2

### Page Text

©
All BF sizes to be confirmed

### Annotations

Annotation 1: (2) All BF sizes to be confirmed

Annotation 2: (3)

--------------------------------------------------